The specialist dealer/depot Наименование дилера/продавца represented by (name) ФИО сотрудника

reported receiving notification of a malfunction on (date): Дата получения сообщения о неисправности

from (Name of user): Наименование пользователя (Клиента)

concerning the MELAG-appliance Type Наименование оборудования МЕЛАГ

Works-No.: Заводской номер оборудования

* Repairs under guarantee must be organised through the official dealer !

The dealer has been informed that travel costs will not be met by MELAG.

We contacted MELAG on (date): ____________________________ to determine if the fault as described is covered by the guarantee and spoke with (name) ____________________________________.

Description of fault  by the user / malfunction message in the display: Описание информационных сообщений на дисплее _________________________________________________________________________________

A record of the faulty cycle should be printed out and attached to this report.

1. Condition of appliance: (комплектация оборудования)

Pressure chamber:  __________________________________________________________________

Trays:                      __________________________________________________________________

Tray rack assembly:  _________________________________________________________________

2. How often is the appliance sterilised each week? _среднее количество циклов в неделю__

Reading of cycle counter    общее количество циклов

3. Water quality / Conductivity of the water in the storage container before the repair: проводимость воды µS/ cm

Conductivity of the feed water used:						_______ µS/cm

(Источник воды для стерилизации, выбрать вариант)

The feed water is from the following source:       Pharmacy	 Ion exchanger

Other (specify) __________________________

4. Is a water purifying appliance attached, and if so which? Наименование устройства водоподготовки, при наличии

5. Is a printer attached? Наименование и модель принтера, при наличии

if yes,   MELAprint 		 Office printer

6. Diagnosis of fault:

Описание результатов диагностики неисправности_________________________________________________

____________________________________________________________________________________________

7. Action to repair malfunction (Описание действий по устранению неисправности)

__________________________________________________________________________

__________________________________________________________________________

__________________________________________________________________________

8. What parts are being sent to MELAG to be checked? (Наименование и артикул неисправных деталей)

__________________________________________________________________________

__________________________________________________________________________

9. Have other parts been exchanged?

__________________________________________________________________________

__________________________________________________________________________

11. Appliance re-installed in accordance with Installation Instructions .Подтверждение об установке оборудования согласно инструкции ДА/НЕТ

12. Where was the repair carried out? (где проводился диагностика/ремонт) выбрать вариант

in the surgery / clinic?			 в клинике

in the repair shop after delivery? 	 в ремонтной мастерской после получения от клиента (клиент отправил оборудование)

in the repair shop after own collection?	 в ремонтной мастерской после получения от клиента (самостоятельно забрали от клиента)

13. Working time:	from:___________   to   :_______________

Diagnosis: 			______h

Repair:				______h

Re-installation/ Instruction:		______h

14. Travel costs:	Travel time:		_____________h

Distance:		_____________km

15. Name of technician:

ФИО технического специалиста проводившего диагностику/ремонт

Has the functioning appliance been demonstrated to the physician / user ?  _________Date:_________

I confirm that the appliance is now in working order:

(Name of owner or user, status)  _______________________________________________

(Please print in block letters.)

Signature:	(подпись) ______________________________________________

Please attach the print-outs and mark clearly: 
 (	faulty cycle before repair 
 (	error-free cycle after repair